## Slide 1
Add district logo
How to Use Your Portable Air Cleaner
Instructions for Use
WHERE TO PLACE IT
Place the air cleaner on a flat surface in a central location in the room. Check that the power cord is not a tripping hazard.
WHEN TO USE IT
Turn the air cleaner on and leave it running [at all times/during the school day].
FILTER MAINTENANCE
The district will change the filter every [six months/year].
For assistance with your air cleaner or maintenance requests, reach out to [department, phone, email].
[Add photo of your school district's air cleaners here]
FAN SETTINGS
Keep the air cleaner on the [highest] fan speed. At this setting, the device provides clean air for [350 sq. ft.].
INDICATOR LIGHTS
Power Indicator: [Green] means the device is on and running
[Filter replacement light: Don't worry if the light turns red, the air cleaner is still working. Once the filter is changed, this light must be manually reset.]
[Air quality indicator: Shows real-time particulate levels, ranging from blue (good) to red (poor)]
[School district name] has installed air cleaners in classrooms to improve indoor air quality. These devices use a fan and [HEPA] filters to remove tiny airborne particles including viruses, pollen, mold, and dust.
Portable air cleaners reduce air pollutants, which can support:
Fewer asthma and allergy symptoms1
Less asthma and illness-related absences 2
Better learning and test scores 3

## Slide 2
How to Use this Template
Writing Instructions for School Air Cleaners
Fill in [red text] with instructions to your specific devices.
Add a photo of the actual device staff have in their spaces. Consider adding arrows to point out device features and settings.
Add your district logo and contact information, so staff know these instructions are customized.
Placement
Specify if cords can or should be taped down to prevent tripping
Ideal placement is central in the room near the most people, realistically, the best placement may be where the device will be least disruptive and not turned off.
When to Use Your Air Cleaner
Communicate expectations for if the device should be turned on and off each day. Devices that are encouraged to be left on are likely to be used more regularly.
Fan Speeds
Look up the device clean air delivery rate (CADR), often measured in cubic feet per minute (CFM), for each fan speed. If multiple numbers are listed, use the one for "dust".
Rule of thumb: target total CADR ~ 2/3 of room area. (ex. 900 ft2 classroom, target = 600 CFM)
Look up the device's specified noise levels. Ideally, noise levels should stay under 45 dBA while at the target fan speed.
Suggest a fan speed with the highest CADR without noise levels being disruptive.
Use Harvard's Portable Air Cleaner Sizing Tool to learn more about clean air delivery from air cleaners.
Indicator lights
Point out important indicator lights, especially ones that look like errors that could lead to devices being turned off.
Filter change indicator lights may be based on timers and not actual filter conditions and could lead staff to think the device is unsafe to use.
If the device as air quality sensors, check to see if automatic fan speeds are enabled.
Filter Maintenance
Communicate how often filters will be changed and who will change them.
If teachers or school staff are changing filters, ensure they have additional instructions about how to do so and proper PPE.
Learn more about selecting portable air cleaners for schools: School In-Room Air Cleaners Fact Sheet and Electronic Air Cleaners Fact Sheet.

## Slide 3
Sources 1. Du, Liuliu, Stuart Batterman, Edith Parker, et al. “Particle Concentrations and Effectiveness of Free-Standing Air Filters in Bedrooms of Children with Asthma in Detroit, Michigan.” Building and Environment 46, no. 11 (2011): 2303–13. https://doi.org/10.1016/j.buildenv.2011.05.012.
2. MacNaughton, P., Eitland, E., Kloog, I., Schwartz, J., & Allen, J. (2017). Impact of particulate matter exposure and surrounding “greenness” on chronic absenteeism in Massachusetts public schools. International Journal of Environmental Research and Public Health, 14(2), Article 207. https://doi.org/10.3390/ijerph14020207
3. Grineski, S. E., Clark-Reyna, S. E., & Collins, T. W. (2016). School-based exposure to hazardous air pollutants and grade point average: A multi-level study. Environmental Research, 147, 164–171. https://doi.org/10.1016/j.envres.2016.02.004
Other data points:
In a 2022 study of 99 Los Angeles Unified School District classrooms, rooms with HEPA air cleaners average school-year PM2.5 was 39.9% lower and infiltration of outdoor PM2.5 into classrooms was 13.8–82.4% lower than non-HEPA classrooms.